## Sheet1
Section | Field | Value | Unit
Basic Metadata | Record ID | 709499
Basic Metadata | Date/Time UTC | 2026-08-26 08:12
Basic Metadata | Date/Time (Central) | 2026-08-26 03:12:05
Temperature | Aspirated Air Temperature at 60 in. (LM335) | 67.052 | °F
Temperature | Bowl Shield | 62.767 | °F
Temperature | Outer Shield | -95.78 | °F
Temperature | Middle Shield | 186.802 | °F
Temperature | Inner Shield | -241.17 | °F
Temperature | Ambient Temperature at 9 ft. (AIO) | 64.9 | °F
Temperature | Black Globe Temperature | 874.2529 | °F
Temperature | Davis Temperature at 10 ft. | -172.3897 | °F
Temperature | Davis Temperature at 30 ft. | -377.48 | °F
Temperature | Temperature (RS485) |  | °F
Humidity | Aspirated Relative Humidity at 60 in. (Sensor 1) | -22.7 | %
Humidity | Aspirated Relative Humidity at 60 in. (Sensor 2) | -22.7 | %
Humidity | Relative Humidity at 10 ft. (AIO) | 83 | %
Humidity | Davis Relative Humidity at 10 ft. (Precon) | 75.3 | %
Humidity | Davis Relative Humidity at 10 ft. (Honeywell) | 104.9 | %
Humidity | Relative Humidity (RS485) |  | %
Pressure | Barometric Pressure at 10 ft. | 41281 | inHg
Pressure | Barometric Pressure at 9 ft. (AIO) | 28.89 | inHg
Wind | Wind Speed at 6 ft. (Vortex 1-min Avg) | 1 | mph
Wind | Wind Speed at 6 ft. (Vortex 3-sec Avg) | 0 | mph
Wind | Wind Gust Speed at 6 ft. (Vortex) | 1 | mph
Wind | Wind Speed at 9 ft. (AIO) | 4.5 | mph
Wind | Peak Wind Speed at 9 ft. (AIO) | 5.6 | mph
Wind | Wind Direction at 9 ft. (AIO) | 293 | degrees
Wind | Wind Direction at 10 ft. (Peet) | 0 | degrees
Wind | Wind Speed at 10 ft. (Peet) | 0 | mph
Wind | Instantaneous Wind Speed at 10 ft. (Peet) | 0 | mph
Wind | Wind Speed at 30 ft. (MetOne Avg) | 1 | mph
Wind | Wind Gust Speed at 30 ft. (MetOne) | 1 | mph
Wind | Wind Speed at 30 ft. (Peet) | 0 | mph
Wind | Wind Direction at 30 ft. (Peet) | 0 | degrees
Wind | Wind Direction at 30 ft. (Inspeed) | 236.989 | degrees
Wind | wind speed 30 ft. sonic |  | mph
Wind | direction 30 ft. sonic |  | degrees
Wind | wind peak 30 ft. sonic |  | mph
Wind | Fan Current | 361.8 | mA
Precipitation | Total Daily Rainfall (AIO) | 0 | in
Precipitation | Rain Hourly Rate | 0 | in/hr
Precipitation | Rain Minute Rate | 0 | in/min
Precipitation | Time since Last Rain | 8.0312
Precipitation | Snow Depth (Ultrasonic) | -76.45 | in
Precipitation | Snow Depth (Infrared) | 25.92 | in
Soil / Ground Temperature | Ground Temperature | 62.852 | °F
Soil / Ground Temperature | Soil Temperature at 1 in | 68.151 | °F
Soil / Ground Temperature | Soil Temperature at 2 in | 68.858 | °F
Soil / Ground Temperature | Soil Temperature at 3 in | 68.995 | °F
Soil / Ground Temperature | Soil Temperature at 4 in | 69.623 | °F
Soil / Ground Temperature | Soil Temperature at 5 in | 69.525 | °F
Soil / Ground Temperature | Soil Temperature at 6 in | 69.584 | °F
Soil / Ground Temperature | Soil Temperature at 7 in | 69.427 | °F
Soil / Ground Temperature | Soil Temperature at 8 in | 69.388 | °F
Soil / Ground Temperature | Soil Temperature at 10 in | 69.093 | °F
Soil / Ground Temperature | Soil Temperature at 12 in | 68.504 | °F
Soil / Ground Temperature | Soil Temperature at 20 in | 67.012 | °F
Soil / Ground Temperature | Soil Temperature at 30 in | 65.776 | °F
Soil / Ground Temperature | Soil Temperature at 40 in | 64.992 | °F
Soil / Ground Temperature | Soil Temperature at 48 in | 64.365 | °F
Soil Moisture | Soil Moisture at 3 in. (RS485) |  | %
Soil Moisture | Soil Moisture at 7 in. (RS485) |  | %
Soil Moisture | Soil Moisture at 11 in. (RS485) |  | %
Soil Moisture | Soil Moisture at 15 in. (RS485) |  | %
Soil Moisture | Soil Moisture at 19 in. (RS485) |  | %
Aboveground Temperature | Temperature at 1 in | 62.771 | °F
Aboveground Temperature | Temperature at 2 in | 62.835 | °F
Aboveground Temperature | Temperature at 3 in | 63.224 | °F
Aboveground Temperature | Temperature at 4 in | 63.042 | °F
Aboveground Temperature | Temperature at 5 in | 56.333 | °F
Aboveground Temperature | Temperature at 7 in | 63.716 | °F
Aboveground Temperature | Temperature at 9 in | 63.729 | °F
Aboveground Temperature | Temperature at 11 in | 63.759 | °F
Aboveground Temperature | Temperature at 13 in | 63.721 | °F
Aboveground Temperature | Temperature at 15 in | 63.865 | °F
Solar / Light | UV Index | 0.8001 | W/m²
Solar / Light | Solar Radiation | 0 | W/m²
Solar / Light | Ground IR Temperature | 25481.93 | °F
Solar / Light | 20 Watt Solar Panel Voltage | 0.01 | V
Solar / Light | 20 Watt Solar Panel Current | -265 | A
Solar / Light | Solar Photosynthetically Active Region (PAR) | 0.7049 | µmol⁄m²s²
Solar / Light | Light Intensity Upper (LUX) |  | LUX
Solar / Light | Light Intensity Lower (LUX) |  | LUX
Solar / Light | PAR (RS485) |  | umole/m² sec
Solar / Light | UV Index (RS485) |  | index
Solar / Light | UV Intensity (RS485) |  | mW/cm²
Radiation | Radiation Level | 57 | Geiger Ticks
Radiation | Radiation Burst Count | 8
Radiation | Radiation Burst Timestamp | 2
Radiation | Geiger Tube High Volts | 758.1 | HV
Radiation | Geiger Counter Current | 24.6 | mA
Lightning & Optical | Thunder Detected | 0.049
Lightning & Optical | Lightning Range | 019
Lightning & Optical | Lightning Flash Timestamp (Skyscan) | 0
Lightning & Optical | Lightning Alarm | 026
Lightning & Optical | Lightning Optical Sensor (North) | 0.006
Lightning & Optical | Lightning Optical Sensor (South) | 0.006
Lightning & Optical | Lightning Optical Sensor (East) | 0.006
Lightning & Optical | Lightning Optical Sensor (West) | 0.005
Lightning & Optical | Lightning Optical Sensor (Zenith) | 0.007
Lightning & Optical | Lightning UV-A/UV-B Intensity | -0.05
Sky / IR Sensors | Sky Brightness (Dark Reading) | 1206.09 | lx
Sky / IR Sensors | Sky Brightness (Bright Reading) | 1.98 | lx
Sky / IR Sensors | Sky IR Temperature | 64.94 | °F
Soil Flux | Soil Heat Flux | -3.165 | W/m²
Hail Sensor | Hail Impact Peak | 1.665 | Power Sensor
Hail Sensor | Hail Impact Average | 1.602 | Power Sensor
Hail Sensor | Hail Sensor Hits Count | 0