## Sheet1
Field Code | Field Name | Value | Unit
unix_time | Unix Time | 1787731865
tower_datetime_utc | Date/Time UTC | 2026-08-26 08:11
tower_datetime_chicago_txt | Date/Time (Central) | 2026-08-26 03:11:05
conversion_datetime_utc | Conversion Datetime Utc | 2026-08-26 08:12
reconvert_row | Reconvert Row | FALSE
geiger_temperature | Geiger Temperature | 76 | °F
geiger_status | Geiger Status | 00
rain_tenmin | Rain Tenmin | 3 | in
rain_count_lsb | Rain Count Lsb | 22.85
rain_rate | Rain Rate | 0 | in/hr
rain_count_msb | Rain Count Msb | 0
rain_minute_rate | Rain Minute Rate | 0 | in/hr
RTD_1K_lower | Rtd 1K Lower | -410.9596 | °F
RTD_100_lower | Rtd 100 Lower | -172.4179 | °F
temp_head_fan_airflow | Temp Head Fan Airflow | 1791.687
temp_head_fan_voltage | Temp Head Fan Voltage | 11.25 | V
PTB_lower | Ptb Lower | 29.0171
AD_temperature | Ad Temperature | 88.447 | °F
fan_voltage | Fan Voltage | 11.35 | V
fan_current | Fan Current | 353.2 | mA
fan_speed | Fan Speed | 90 | RPM
Arduino_teensy_current | Arduino Teensy Current | 249.8 | mA
RF_link_current | Rf Link Current | 17.9 | mA
box_humidity | Box Humidity | 40 | %
ten_enclosure_temp | Ten Enclosure Temp | 68.1 | °F
ten_circuit_current | Ten Circuit Current | 30.6 | mA
ten_RTD_temperature | Ten Rtd Temperature | -353.12 | °F
Temperature_Precon | Temperature Precon | 69.21 | °F
power_100WA_voltage | Power 100Wa Voltage | 4.14 | V
power_100WA_current | Power 100Wa Current | -14946 | A
power_100WB_voltage | Power 100Wb Voltage | 0 | V
power_100WB_current | Power 100Wb Current | -14952 | A
power_50W_voltage | Power 50W Voltage | 0 | V
power_50W_current | Power 50W Current | -232 | A
power_20WA_voltage | Power 20Wa Voltage | 0 | V
power_20WA_current | Power 20Wa Current | -270 | A
power_load_voltage | Power Load Voltage | 14.5 | V
power_load_current | Power Load Current | 1453 | A
power_battery_voltage | Power Battery Voltage | 2.71 | V
power_battery_current | Power Battery Current | -554 | A
power_solar_voltage | Power Solar Voltage | 0 | V
power_solar_current | Power Solar Current | -217 | A
power_fan_current_A | Power Fan Current A | 0 | mA
power_heater_current_A | Power Heater Current A | 0 | A
power_battery_temperature_A | Power Battery Temperature A | 277.4 | °F
power_cabinet_temperature | Power Cabinet Temperature | 72.4 | °F
power_MPPT_temperature | Power Mppt Temperature | 79.4 | °F
power_5C_voltage | Power 5C Voltage | 4.88 | V
power_5DAQ_voltage | Power 5Daq Voltage | 5.91 | V
power_5DAQ_current | Power 5Daq Current | 32 | A
power_VTOP_voltage | Power Vtop Voltage | 12.58 | V
power_VTOP_current | Power Vtop Current | 587 | A
power_VAUX_voltage | Power Vaux Voltage | 14.42 | V
power_VAUX_current | Power Vaux Current | 367.7 | A
power_DAQ_input_current | Power Daq Input Current | 1426 | A
power_battery_temperature_B | Power Battery Temperature B | -39.6 | °F
power_box_temperature | Power Box Temperature | 1126.7 | °F
power_heater_current_B | Power Heater Current B | 912.3 | A
power_fan_current_B | Power Fan Current B | 83 | mA
power_status | Power Status | 6
power_enclosure_humidity | Power Enclosure Humidity | 22 | %
power_fault_status | Power Fault Status | 0
soil_moist_b2 | Soil Moist B2 | -0.42
soil_moist_b4 | Soil Moist B4 | 4.69
soil_moist_b6 | Soil Moist B6 | -1
soil_moist_b8 | Soil Moist B8 | -0.76
soil_moist_b10 | Soil Moist B10 | 2.54
soil_moist_b15 | Soil Moist B15 | -0.89
soil_moist_b20 | Soil Moist B20 | -1
soil_moist_b40 | Soil Moist B40 | 1.27
soil_electronics_temp | Soil Electronics Temp | 63.3 | °F
soil_electronics_Vref | Soil Electronics Vref | 4.038 | V
soil_spare | Soil Spare | 65535
barometric_temperature | Barometric Temperature | 25191 | °F
load_dcdc_voltage_input | Load Dcdc Voltage Input | 0.3 | V
load_dcdc_current_input | Load Dcdc Current Input | 0.007 | A
load_dcdc_current_output | Load Dcdc Current Output | 0.217 | A
load_dcdc_voltage_output | Load Dcdc Voltage Output | 3.97 | V
battery_charger_current_input | Battery Charger Current Input | 0.005 | A
battery_charger_current_output | Battery Charger Current Output | 0.014 | A
battery_charger_temperature | Battery Charger Temperature | 440.6 | °F
battery_charger_voltage_output | Battery Charger Voltage Output | 0.1 | V
solar_dcdc_input_voltage | Solar Dcdc Input Voltage | 8 | V
solar_dcdc_input_current | Solar Dcdc Input Current | 0 | A
solar_charger_current_output | Solar Charger Current Output | 0.007 | A
solar_charger_voltage_output | Solar Charger Voltage Output | 0.03 | V
load_voltage | Load Voltage | 0.03 | V
battery_voltage | Battery Voltage | 4.69 | V
battery_temperature | Battery Temperature | 39.8 | °F
battery_protection_status | Battery Protection Status | 46
weatherproof_enclosure_temperature | Weatherproof Enclosure Temperature | 58.3 | °F
power_supply_box_temperature | Power Supply Box Temperature | -459.4 | °F
power_supply_humidity | Power Supply Humidity | 16 | %
V30_supply_fan_speed | V30 Supply Fan Speed | 1680 | RPM
V30_supply_fan_current | V30 Supply Fan Current | 0.1 | mA
V30_supply_current_output | V30 Supply Current Output | -0.304 | A
V30_supply_voltage_output | V30 Supply Voltage Output | 0.02 | V
V30_supply_24V_supply_voltage | V30 Supply 24V Supply Voltage | 0 | V
V30_converter_board_current_input | V30 Converter Board Current Input | 0.98 | A
V30_converter_board_voltage_input | V30 Converter Board Voltage Input | 37.7 | V
MOSFET_switches_status | Mosfet Switches Status | 00
protection_raw_voltage | Protection Raw Voltage | 0 | V
protection_protected_voltage | Protection Protected Voltage | 0 | V
protection_raw_input_current | Protection Raw Input Current | -25 | A
protection_circuit_status | Protection Circuit Status | 27
mux_current | Mux Current | 92 | A
mux_temperature | Mux Temperature | 65.3 | °F
Peet_wind_multl | Peet Wind Multl | 0
Peet_windlo | Peet Windlo | 0
Peet_wind_multh | Peet Wind Multh | 0
Peet_windhi | Peet Windhi | 0
Peet_vduce | Peet Vduce | 0
Hydreon_current | Hydreon Current | 23.1 | A
Hydreon_temperature | Hydreon Temperature | 69.7 | °F
Hydreon_range_setting | Hydreon Range Setting | 0.0001
Hydreon_low_sense | Hydreon Low Sense | 0
Hydreon_medium_sense | Hydreon Medium Sense | 0
Hydreon_high_sense | Hydreon High Sense | 0.395
sky_sensor_current | Sky Sensor Current | 2.5 | mA
sky_swiper_CW_current | Sky Swiper Cw Current | 0 | A
sky_swiper_CCW_current | Sky Swiper Ccw Current | 0 | A
sky_sensor_status | Sky Sensor Status | 000
sky_Hall_sensor | Sky Hall Sensor | 3.604
sway_X40_reading | Sway X40 Reading | 0.984
sway_X1_reading | Sway X1 Reading | 1.636
sway_Y1_reading | Sway Y1 Reading | 1.652
sway_Y40_reading | Sway Y40 Reading | 1.636
sway_sensor_temperature | Sway Sensor Temperature | 66.8 | °F
sway_sensor_Vss | Sway Sensor Vss | 3.304 | V
sway_Z_offset | Sway Z Offset | 1.335
sway_Z50_reading | Sway Z50 Reading | 4.095
lightning_current | Lightning Current | 19.21 | A
lightning_UV_count | Lightning Uv Count | 0
lightning_high_voltage | Lightning High Voltage | 330.2 | V
lightning_3001_lux | Lightning 3001 Lux | 0
lightning_Skyscan_current | Lightning Skyscan Current | 839.52 | mA
lightning_OPT101_baseline | Lightning Opt101 Baseline | 0.006
lightning_flag | Lightning Flag | 0002
lightning_OPT_temperature | Lightning Opt Temperature | 66.3 | °F
solar_box_temperature | Solar Box Temperature | -394.47 | °F
solar_pyran_upper_byte | Solar Pyran Upper Byte | 0.3912
solar_pyran_middle_byte | Solar Pyran Middle Byte | 0.3912
solar_pyran_lower_byte | Solar Pyran Lower Byte | 0.3912
solar_par_upper_byte | Solar Par Upper Byte | 0.7634
solar_par_middle_byte | Solar Par Middle Byte | 0.7634
solar_UV_upper_byte | Solar Uv Upper Byte | 0.8066
solar_UV_middle_byte | Solar Uv Middle Byte | 0.8066
solar_gold_grid_east | Solar Gold Grid East | 0.0023
solar_gold_grid_west | Solar Gold Grid West | 9.9603
solar_Decagon_horizontal | Solar Decagon Horizontal | 0.18173
solar_Decagon_tilted | Solar Decagon Tilted | 0.5502
solar_frost | Solar Frost | 101965504
solar_bud | Solar Bud | 99.945
solar_globe_upper_byte | Solar Globe Upper Byte | 911.2816
solar_globe_middle_byte | Solar Globe Middle Byte | 911.2816
solar_current | Solar Current | 166.005 | A
solar_voltage | Solar Voltage | 1.811 | V
MetOne_LED_current | Metone Led Current | 4.62 | mA
fuses_Arbcam_current | Fuses Arbcam Current | 801.6 | A
fuses_Arbcam_voltage | Fuses Arbcam Voltage | 58.93 | V
fuses_5_6_voltage | Fuses 5 6 Voltage | 28.56 | V
fuses_mux_current | Fuses Mux Current | 459.8 | A
fuses_lightning_current | Fuses Lightning Current | 269.4 | A
fuses_solar_DAQ_current | Fuses Solar Daq Current | 0 | A
fuses_fluxgate_current | Fuses Fluxgate Current | 37.52 | A
fuses_triaxial_current | Fuses Triaxial Current | 373.54 | A
fuses_future_current | Fuses Future Current | 0 | A
fuses_flag | Fuses Flag | 000
fuses_warn | Fuses Warn | 004
fuses_go_up | Fuses Go Up | 000
fuses_monitor | Fuses Monitor | 148
fuses_Arbcam_mode | Fuses Arbcam Mode | 001
fuses_fault_status | Fuses Fault Status | 003
power_solar_panel_current | Power Solar Panel Current | 0 | A
power_solar_panel_voltage | Power Solar Panel Voltage | 0.23 | V
power_battery_current_B | Power Battery Current B | 0 | A
power_battery_voltage_B | Power Battery Voltage B | 1.62 | V
power_current_into_5_6 | Power Current Into 5 6 | 201.2 | A
power_voltage_into_5_6 | Power Voltage Into 5 6 | 13.55 | V
power_5_6_load_current | Power 5 6 Load Current | 237.5 | A
power_5_6_load_voltage | Power 5 6 Load Voltage | 5.78 | V
power_box_temperature_B | Power Box Temperature B | 76.2 | °F
power_Arbcam_dcdc_input_current | Power Arbcam Dcdc Input Current | 176.8 | A
power_Arbcam_dcdc_input_voltage | Power Arbcam Dcdc Input Voltage | 13.56 | V
power_Arbcam_current | Power Arbcam Current | 163.8 | A
power_Arbcam_voltage | Power Arbcam Voltage | 12.04 | V
power_battery_temperature | Power Battery Temperature | 277.4 | °F
power_128K_battery_voltage | Power 128K Battery Voltage | 0 | V
power_RTC_battery_voltage | Power Rtc Battery Voltage | 1 | V
power_status_B | Power Status B | 000
power_OVP_cycles | Power Ovp Cycles | 0
power_OVP_voltage | Power Ovp Voltage | 5.72 | V
power_hail_sensor_temperature | Power Hail Sensor Temperature | 58.3 | °F
power_box_humidity | Power Box Humidity | 83 | %
s_X1 | S X1 | 10.6 | mV
s_X2 | S X2 | 8.353 | mV
s_X3 | S X3 | 6.293 | mV
s_X4 | S X4 | 0.053 | mV
s_X5 | S X5 | 16.273 | mV
s_X6 | S X6 | 26.497 | mV
s_X7 | S X7 | 7.823 | mV
s_X8 | S X8 | 13.923 | mV
s_X9 | S X9 | 18.443 | mV
s_X10 | S X10 | 6.01 | mV
s_X11 | S X11 | 27.007 | mV
s_X12 | S X12 | 14.637 | mV
s_X13 | S X13 | 1.23 | mV
s_X14 | S X14 | 22.183 | mV
s_X15 | S X15 | 27.82 | mV
s_X16 | S X16 | 4.163 | mV
s_X17 | S X17 | 7.397 | mV
s_X18 | S X18 | 14.227 | mV
s_X19 | S X19 | -3.387 | mV
s_X20 | S X20 | 9.567 | mV
s_X21 | S X21 | -3.29 | mV
s_X22 | S X22 | -4.703 | mV
s_X23 | S X23 | 26.95 | mV
s_X24 | S X24 | -0.173 | mV
s_X25 | S X25 | 24.94 | mV
s_X26 | S X26 | 11.97 | mV
s_X27 | S X27 | 13.02 | mV
s_X28 | S X28 | 19.67 | mV
s_X29 | S X29 | 9.33 | mV
s_X30 | S X30 | -5.043 | mV
s_X31 | S X31 | 2.46 | mV
s_X32 | S X32 | 19.21 | mV
s_X33 | S X33 | 10.787 | mV
s_X34 | S X34 | 5.81 | mV
s_X35 | S X35 | 3.527 | mV
s_X36 | S X36 | 3.643 | mV
s_X37 | S X37 | 3.103 | mV
s_X38 | S X38 | 9.26 | mV
s_X39 | S X39 | 24.097 | mV
s_X40 | S X40 | 6.093 | mV
s_Y1 | S Y1 | 1.653 | mV
s_Y2 | S Y2 | 8.6 | mV
s_Y3 | S Y3 | 1.98 | mV
s_Y4 | S Y4 | 2.45 | mV
s_Y5 | S Y5 | 16.42 | mV
s_Y6 | S Y6 | -2.32 | mV
s_Y7 | S Y7 | 2.813 | mV
s_Y8 | S Y8 | 6.383 | mV
s_Y9 | S Y9 | -3.39 | mV
s_Y10 | S Y10 | -2.96 | mV
s_Y11 | S Y11 | 13.897 | mV
s_Y12 | S Y12 | 4.18 | mV
s_Y13 | S Y13 | 6.76 | mV
s_Y14 | S Y14 | 13.917 | mV
s_Y15 | S Y15 | 5.68 | mV
s_Y16 | S Y16 | -2.483 | mV
s_Y17 | S Y17 | 6.13 | mV
s_Y18 | S Y18 | 92.09 | mV
s_Y19 | S Y19 | 7.243 | mV
s_Y20 | S Y20 | 1.7 | mV
s_Y21 | S Y21 | 16.58 | mV
s_Y22 | S Y22 | -3.007 | mV
s_Y23 | S Y23 | 11.733 | mV
s_Y24 | S Y24 | 13.343 | mV
s_Y25 | S Y25 | 22.367 | mV
s_Y26 | S Y26 | -4.907 | mV
s_Y27 | S Y27 | 5.507 | mV
s_Y28 | S Y28 | 16.5 | mV
s_Y29 | S Y29 | 3.443 | mV
s_Y30 | S Y30 | 12.663 | mV
s_Y31 | S Y31 | -5.297 | mV
s_Y32 | S Y32 | 21.447 | mV
s_Y33 | S Y33 | 25.023 | mV
s_Y34 | S Y34 | 17.703 | mV
s_Y35 | S Y35 | 11.753 | mV
s_Y36 | S Y36 | 12.747 | mV
s_Y37 | S Y37 | 9.537 | mV
s_Y38 | S Y38 | 24.433 | mV
s_Y39 | S Y39 | -3.617 | mV
s_Y40 | S Y40 | -4.397 | mV
f_T1 | F T1 | 0 | °F
f_X1 | F X1 | 114560 | mV
f_Y1 | F Y1 | 110420 | mV
f_Z1 | F Z1 | 152520 | mV
f_T2 | F T2 | 1 | °F
f_X2 | F X2 | 114560 | mV
f_Y2 | F Y2 | 110420 | mV
f_Z2 | F Z2 | 152520 | mV
f_T3 | F T3 | 2 | °F
f_X3 | F X3 | 114560 | mV
f_Y3 | F Y3 | 110410 | mV
f_Z3 | F Z3 | 152520 | mV
f_T4 | F T4 | 3 | °F
f_X4 | F X4 | 114570 | mV
f_Y4 | F Y4 | 110410 | mV
f_Z4 | F Z4 | 152520 | mV
f_T5 | F T5 | 4 | °F
f_X5 | F X5 | 114570 | mV
f_Y5 | F Y5 | 110420 | mV
f_Z5 | F Z5 | 152520 | mV
f_T6 | F T6 | 5 | °F
f_X6 | F X6 | 114570 | mV
f_Y6 | F Y6 | 110410 | mV
f_Z6 | F Z6 | 152520 | mV
f_T7 | F T7 | 6 | °F
f_X7 | F X7 | 114570 | mV
f_Y7 | F Y7 | 110410 | mV
f_Z7 | F Z7 | 152520 | mV
f_T8 | F T8 | 7 | °F
f_X8 | F X8 | 114570 | mV
f_Y8 | F Y8 | 110410 | mV
f_Z8 | F Z8 | 152520 | mV
f_T9 | F T9 | 8 | °F
f_X9 | F X9 | 114570 | mV
f_Y9 | F Y9 | 110420 | mV
f_Z9 | F Z9 | 152520 | mV
f_T10 | F T10 | 9 | °F
f_X10 | F X10 | 114570 | mV
f_Y10 | F Y10 | 110410 | mV
f_Z10 | F Z10 | 152520 | mV
f_T11 | F T11 | 10 | °F
f_X11 | F X11 | 114570 | mV
f_Y11 | F Y11 | 110410 | mV
f_Z11 | F Z11 | 152520 | mV
f_T12 | F T12 | 11 | °F
f_X12 | F X12 | 114570 | mV
f_Y12 | F Y12 | 110410 | mV
f_Z12 | F Z12 | 152520 | mV
f_T13 | F T13 | 12 | °F
f_X13 | F X13 | 114570 | mV
f_Y13 | F Y13 | 110420 | mV
f_Z13 | F Z13 | 152520 | mV
f_T14 | F T14 | 13 | °F
f_X14 | F X14 | 114570 | mV
f_Y14 | F Y14 | 110410 | mV
f_Z14 | F Z14 | 152520 | mV
fluxgate_current | Fluxgate Current | 77.8 | A
fluxgate_temperature | Fluxgate Temperature | 69.7 | °F
fluxgate_xset | Fluxgate Xset | 6.1
fluxgate_yset | Fluxgate Yset | 2.48
fluxgate_zset | Fluxgate Zset | 8.86
fluxgate_flag | Fluxgate Flag | 000
t_T1 | T T1 | 0 | °F
t_X1 | T X1 | 1044.88 | mV
t_Y1 | T Y1 | 38.03 | mV
t_Z1 | T Z1 | 115.4 | mV
t_T2 | T T2 | 1 | °F
t_X2 | T X2 | 1044.37 | mV
t_Y2 | T Y2 | 38.09 | mV
t_Z2 | T Z2 | 115.59 | mV
t_T3 | T T3 | 2 | °F
t_X3 | T X3 | 1044.72 | mV
t_Y3 | T Y3 | 38.09 | mV
t_Z3 | T Z3 | 115.52 | mV
t_T4 | T T4 | 3 | °F
t_X4 | T X4 | 1044.78 | mV
t_Y4 | T Y4 | 38.03 | mV
t_Z4 | T Z4 | 115.46 | mV
t_T5 | T T5 | 4 | °F
t_X5 | T X5 | 1044.94 | mV
t_Y5 | T Y5 | 38.06 | mV
t_Z5 | T Z5 | 115.3 | mV
t_T6 | T T6 | 5 | °F
t_X6 | T X6 | 1045.04 | mV
t_Y6 | T Y6 | 38.06 | mV
t_Z6 | T Z6 | 115.4 | mV
t_T7 | T T7 | 6 | °F
t_X7 | T X7 | 1044.72 | mV
t_Y7 | T Y7 | 38.09 | mV
t_Z7 | T Z7 | 115.59 | mV
t_T8 | T T8 | 7 | °F
t_X8 | T X8 | 1044.81 | mV
t_Y8 | T Y8 | 38.03 | mV
t_Z8 | T Z8 | 115.59 | mV
t_T9 | T T9 | 8 | °F
t_X9 | T X9 | 1044.69 | mV
t_Y9 | T Y9 | 38.06 | mV
t_Z9 | T Z9 | 115.59 | mV
t_T10 | T T10 | 9 | °F
t_X10 | T X10 | 1044.91 | mV
t_Y10 | T Y10 | 38.09 | mV
t_Z10 | T Z10 | 115.52 | mV
t_T11 | T T11 | 10 | °F
t_X11 | T X11 | 1044.81 | mV
t_Y11 | T Y11 | 38 | mV
t_Z11 | T Z11 | 115.88 | mV
t_T12 | T T12 | 11 | °F
t_X12 | T X12 | 1044.78 | mV
t_Y12 | T Y12 | 38.06 | mV
t_Z12 | T Z12 | 115.46 | mV
t_T13 | T T13 | 12 | °F
t_X13 | T X13 | 1044.78 | mV
t_Y13 | T Y13 | 38.06 | mV
t_Z13 | T Z13 | 115.49 | mV
t_T14 | T T14 | 13 | °F
t_X14 | T X14 | 1044.75 | mV
t_Y14 | T Y14 | 38.03 | mV
t_Z14 | T Z14 | 115.46 | mV
t_T15 | T T15 | 14 | °F
t_X15 | T X15 | 1044.69 | mV
t_Y15 | T Y15 | 38 | mV
t_Z15 | T Z15 | 115.4 | mV
t_T16 | T T16 | 15 | °F
t_X16 | T X16 | 1044.78 | mV
t_Y16 | T Y16 | 38.09 | mV
t_Z16 | T Z16 | 115.46 | mV
t_T17 | T T17 | 16 | °F
t_X17 | T X17 | 1044.88 | mV
t_Y17 | T Y17 | 38.03 | mV
t_Z17 | T Z17 | 115.36 | mV
t_T18 | T T18 | 17 | °F
t_X18 | T X18 | 1044.69 | mV
t_Y18 | T Y18 | 38.09 | mV
t_Z18 | T Z18 | 115.33 | mV
t_T19 | T T19 | 18 | °F
t_X19 | T X19 | 1044.81 | mV
t_Y19 | T Y19 | 38.09 | mV
t_Z19 | T Z19 | 115.59 | mV
t_T20 | T T20 | 19 | °F
t_X20 | T X20 | 1044.91 | mV
t_Y20 | T Y20 | 38 | mV
t_Z20 | T Z20 | 115.36 | mV
triaxial_current | Triaxial Current | 0.63 | A
triaxial_volts | Triaxial Volts | 4.99 | V
triaxial_temperature | Triaxial Temperature | 64.4 | °F
PurpleAir_dcdc_current_input | Purpleair Dcdc Current Input | 1.2 | A
PurpleAir_dcdc_current_output | Purpleair Dcdc Current Output | 1 | A
PurpleAir_dcdc_voltage | Purpleair Dcdc Voltage | 0 | V
Particles_dcdc_current_input | Particles Dcdc Current Input | 1 | A
Particles_dcdc_current_output | Particles Dcdc Current Output | 1.2 | A
Particles_dcdc_voltage | Particles Dcdc Voltage | 0 | V
Particles_dcdc_temperature | Particles Dcdc Temperature | 65.1 | °F
Aux_box_fans_voltage | Aux Box Fans Voltage | 0 | V
Aux_B_dcdc_current_input | Aux B Dcdc Current Input | 1.2 | A
Aux_B_dcdc_current_output | Aux B Dcdc Current Output | 1.5 | A
Aux_B_dcdc_voltage | Aux B Dcdc Voltage | 0 | V
Aux_A_dcdc_current_input | Aux A Dcdc Current Input | 2.7 | A
Aux_A_dcdc_current_output | Aux A Dcdc Current Output | 2.2 | A
Aux_A_dcdc_voltage | Aux A Dcdc Voltage | 0 | V
Aux_A_dcdc_temperature | Aux A Dcdc Temperature | 67.8 | °F
Aux_A_spare | Aux A Spare | 8
Schumann_dcdc_current_input | Schumann Dcdc Current Input | 0.7 | A
Schumann_dcdc_current_output | Schumann Dcdc Current Output | 0.7 | A
Schumann_dcdc_voltage | Schumann Dcdc Voltage | 0 | V
CFLUX_1_dcdc_current_input | Cflux 1 Dcdc Current Input | 1.7 | A
CFLUX_1_dcdc_current_output | Cflux 1 Dcdc Current Output | 1.5 | A
CFLUX_1_dcdc_voltage | Cflux 1 Dcdc Voltage | 0 | V
CFLUX_dcdc_temperature | Cflux Dcdc Temperature | 64.8 | °F
CFLUX_spare_2 | Cflux Spare 2 | 7
Aux_box_input_current | Aux Box Input Current | 863 | A
Aux_box_input_voltage | Aux Box Input Voltage | 28.74 | V
fiber_optic_link_dcdc_current_input | Fiber Optic Link Dcdc Current Input | 856 | A
fiber_optic_link_dcdc_voltage_input | Fiber Optic Link Dcdc Voltage Input | 28.63 | V
USB_jack_dcdc_current_input | Usb Jack Dcdc Current Input | 7.2 | A
USB_jack_dcdc_voltage_input | Usb Jack Dcdc Voltage Input | 28.68 | V
USB_dcdc_temperature | Usb Dcdc Temperature | 76.8 | °F
fans_current | Fans Current | 0 | A
fan_A_speed | Fan A Speed | 0 | RPM
fan_B_speed | Fan B Speed | 0 | RPM
fan_C_speed | Fan C Speed | 0 | RPM
Aux_box_humidity | Aux Box Humidity | 84.15 | %
Aux_box_fan_status | Aux Box Fan Status | 00
Aux_box_MOSFET_status | Aux Box Mosfet Status | FF
Aux_box_fuse_status | Aux Box Fuse Status | FF
Aux_box_over_current_status | Aux Box Over Current Status | 00
AIO_battery_voltage | Aio Battery Voltage | 13.9 | V
row_flag | Row Flag | 1
s_flag | S Flag | 1
one_flag | One Flag | 1
two_flag | Two Flag | 2
three_flag | Three Flag | 2
four_flag | Four Flag | 2
kz_flag | Kz Flag | 0
aio2_flag | Aio2 Flag | 0
wind30_flag | Wind30 Flag | 2
rs485_flag | Rs485 Flag | 2